## Slide 1
Point-Spread Function Simulator for Fluorescence Microscopy
Fernando Caprile Andrea Bassi Fernando Stefani Luciano Masullo

## Slide 2
R. Cole et al, Nature Protocols 6, 1929–1941 (2011)
Why is the Point Spread Function important?

## Slide 3: Why is the Point Spread Function important?
R. Cole et al, Nature Protocols 6, 1929–1941 (2011)
It directly determines the quality of the microscope image (resolution, contrast, etc)

## Slide 4: Why is the Point Spread Function important?
It directly determines the quality of the microscope image (resolution, contrast, etc)
It can be engineered and used for super-resolution microscopy
R. Cole et al, Nature Protocols 6, 1929–1941 (2011)

## Slide 5: The PyFocus software package
https://pyfocus.readthedocs.io/en/latest/

## Slide 6: Simulator of focused fields (including PSF)

## Slide 7
Simulator of focused fields (including PSF)
F. Caprile, L.A. Masullo and F.D. Stefani Computer Physics Communications 275 (2022) 108315

## Slide 8
Two models:
Simulator of focused fields (including PSF)
F. Caprile, L.A. Masullo and F.D. Stefani Computer Physics Communications 275 (2022) 108315

## Slide 9
Two models:
Simulator of focused fields (including PSF)
F. Caprile, L.A. Masullo and F.D. Stefani Computer Physics Communications 275 (2022) 108315
Scalar:
- Faster calculation (Fourier transform)
- Works well only for low NA
- Neglects polarization

## Slide 10
Two models:
Scalar:
- Faster calculation (Fourier transform)
- Works well only for low NA
- Neglects polarization
Vectorial:
- Slower calculation (full field propagation)
- Works well for high NA
- Takes into account polarization
Simulator of focused fields (including PSF)
F. Caprile, L.A. Masullo and F.D. Stefani Computer Physics Communications 275 (2022) 108315

## Slide 11
Applications in (super-resolution) fluorescence microscopy
High resolution confocal microscopy
PSF is critical

## Slide 12
Applications in (super-resolution) fluorescence microscopy
High resolution confocal microscopy
STED microscopy
MINFLUX microscopy
Doughnut-shaped beams, PSF is critical
PSF is critical

## Slide 13
Applications in (super-resolution) fluorescence microscopy
High resolution confocal microscopy
STED microscopy
MINFLUX microscopy
Image Scanning Microscopy (ISM)
Doughnut-shaped beams, PSF is critical
PSF is critical
PSF is critical, engineered PSF

## Slide 14
Applications in (super-resolution) fluorescence microscopy
High resolution confocal microscopy
STED microscopy
MINFLUX microscopy
Image Scanning Microscopy (ISM)
Single-molecule localization microscopy
Doughnut-shaped beams, PSF is critical
PSF is critical, engineered PSF
Engineered PSF
PSF is critical
Huang et al, Science (2008)

## Slide 15
Unexpected applications!

## Slide 16
Unexpected applications!

## Slide 17
Unexpected applications!